Connection Application Forms for Type A Power Generating Facility (< 50 kW) (Form A1-1) and Small Generation Installations (Form A1- 2)

| Form A1-1 : Application for connection of Power Generating Module(s) with Total Aggregate Capacity <50 kW 3-phase or 17 kW single phase For Power Generating Modules with an aggregate capacity < 50 kW 3-phase or 17 kW single-phase, this simplified application form can be used. For Power Generating Modules with an aggregate capacity > 50 kW 3-phase, the connection application should be made using the Standard Application Form (generally available from the DNO website). If the Power Generating Module is Fully Type Tested and registered in the ENA Type Test Verification Report Register, this application form should include the Manufacturer’s reference number (the Product ID). If part of the Power Generating Module is Type Tested and registered with the ENA Type Test Verification Report Register, this application form should include the Manufacturer’s reference number (the Product ID) and Form A2-1 or A2-2 or A2-3 (as appropriate) should be submitted to the DNO with this form. If the Power Generating Module is neither Fully Type Tested or Type Tested then and Form A2-1 or A2-2 or A2-3 should be submitted to the DNO with this form. Alternatively the Standard Application Form should be submitted instead of this form. |  |
| --- | --- |
| To: SSEN (Southern Electric Power Distribution) DNO SSEN Distribution, Inveralmond House, 200 Dunkeld Road, Perth, PH1 3AQ |  |
| Generator details: |  |
| Generator (name) | Dovecote Systems Ltd |
| Address | 179 King Georges Avenue, Southampton |
| Post Code | SO15 4LD |
| Contact person (if different from Generator) | Matt Brander |
| Telephone number | 07763 726307 |
| E-mail address | matt.brander@gmail.com |
| MPAN(s) | 2000022678841 |
| Installer details: |  |
| Installer | Solent Renewables Ltd |
| Accreditation / Qualification | NICEIC / NAPIT |
| Address | 63 Shanklin Road, Shirley, Southampton |

| Post Code |  |  | SO15 7RG |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Contact person |  |  | To be completed by installer |  |  |  |  |  |  |
| Telephone Number |  |  | 07833 311577 |  |  |  |  |  |  |
| E-mail address |  |  | To be completed by installer |  |  |  |  |  |  |
| Installation details: |  |  |  |  |  |  |  |  |  |
| Address |  |  | 179 King Georges Avenue, Southampton |  |  |  |  |  |  |
| Post Code |  |  | SO15 4LD |  |  |  |  |  |  |
| MPAN(s) |  |  | 2000022678841 |  |  |  |  |  |  |
| Details of existing Generating Units – where applicable: |  |  |  |  |  |  |  |  |  |
| Manufacturer | Approximate Date of Installation | Technology Type |  | Manufacturer’s Ref No. where available | Generating Unit Registered Capacity (kW) |  |  |  |  |
|  |  |  |  |  | 3- phase units | Single Phase Units |  |  | Power Factor |
|  |  |  |  |  |  | PH1 | PH2 | PH3 |  |
| Details of proposed additional Generating Unit(s): |  |  |  |  |  |  |  |  |  |
| Manufacturer | Approximate Date of Installation | Technology Type |  | Manufacturer’s Ref No. where available | Generating Unit Registered Capacity (kW) |  |  |  |  |
|  |  |  |  |  | 3- phase units | Single Phase Units |  |  | Power Factor |
|  |  |  |  |  |  | PH1 | PH2 | PH3 |  |
| FoxESS | May 2026 | Battery Energy Storage System (BESS) |  | KH10.5HV |  | 10.5 |  |  | 1.0 |
| Balance of multiple single phase Generating Units – where applicable |  |  |  |  |  |  |  |  |  |
| I confirm that design of the Generator’s Installation has been carried out to limit output power imbalance to below 16A/phase, as required by EREC G99. |  |  |  |  |  |  |  |  |  |
| Signed : |  |  |  |  | 18 May 2026 |  |  |  |  |
| Use continuation sheet where required. Record Generating Unit Registered Capacity kW at 230 AC, to one decimal place, under PH1 for single phase supplies and under the relevant phase for two and three phase supplies. Detail on a separate sheet if there are any proposals to limit export to a lower figure than the aggregate Registered Capacity of all the Generating Units in the Power Generating Facility. |  |  |  |  |  |  |  |  |  |